## Manual
PSW-Mコントロール用サンプルプログラム |  |  | Sample Program for PSW-M Series
|  | Ver 1.05 |  |  | Ver 1.05
使用インターフェイス |  |  | Interface
・GP-IB | ナショナルインスツルメンツ製GP-IB（NI-488.2) |  | ・GP-IB | National Instruments GP-IB (NI-488.2 Driver)
| コンテック製GP-IBカード（PAC-GPIB(98/PC)） |  |  | コンテック製GP-IBカード（PAC-GPIB(98/PC)）
| インタフェース製GP-IBカード（GPC-4301） |  |  | インタフェース製GP-IBカード（GPC-4301）
・USB | USB CDCによる仮想COM/GUR-001による接続 |  | ・USB | USB CDCClass (Virtual COM Port)
・LAN | Socketによる通信（Socketポートは2268固定です） |  | ・LAN | Socket Mode (Port:2268 Fixed)
下のStartボタンを押すと開始します |  |  | Click Start Button
<<<
インターフェイスを選択しアドレスまたはポートを設定後OPENボタンを押してください。負荷と通信が成立すればマスクされているボタンが有効になります。 本サンプルでは通信の確立、送信、受信の方法を提供しています。またハードウエアの確認、接続の確認にも利用できます。 USBの場合はUSB-CDCで割り当てられるCOMポートを確認してください。 GP-IBの場合はドレス、LANの場合はアドレスとポートを確認してください。 64bitのExcelにはGP-IBが対応していません。 CH2、CH3についてはマルチチャンネルの指定をして下さい。 Read/MonitorはCH1のみです |  |  | Specify Interface and PORT or Address first. Please check COM Port to be allocated if you use the USB-CDC. The connection is established if there is no problem by clicking the OPEN button. This sample application can check the operation of the transmit / receive messages.
操作画面 |  |  | Operation
連続モニタは1秒おきにPSWに状態を問合せしてExcelのシートに表示します。動作中はMonitorﾎﾞﾀﾝが赤に変わり再度Monitorﾎﾞﾀﾝを押すか、Excelのシートがいっぱいになったところで取り込みを停止します。最大で18時間程度まで記録可能です。 またモニタリング中は他のﾎﾞﾀﾝ操作はできません。 PSW側のＩＰ設定はF-39～42で確認できます。 |  |  | Monitor to create a log by a query every 1sec. Exit by clicking the Monitor button again. Exit Excel sheet is full, it can record up to 18 hours at most. Operation of other buttons can not be running. IP settings for PSW can check by Function of F-39 ～42.
Ver1.01 | Add remote offline
Ver1.02 | ２４時間対応
Ver1.03 | Excel64bit 対応
Ver1.04 | コマンド送信追加、マルチチャンネル指定追加
共通コマンド(*)はチャンネル指定なしで発行
Ver1.05 | モニタを全チャンネル対応

## LogData
Date | Hour | Voltage[V] | Current[A] | Power[W]

## Command List
Name | Set | Query
*CLS | 1 | 0
*ESE | 1 | 1
*ESR | 0 | 1
*IDN | 0 | 1
*SRE | 1 | 1
*STB | 0 | 1
*OPC | 1 | 1
*RST | 1 | 0
*TRG | 1 | 0
*TST | 0 | 1
*WAI | 1 | 0
ABORt | 1 | 0
APPLy | 1 | 0
DISPlay:MENU | 1 | 1
DISPlay:TEXT | 1 | 1
DISPlay:BLINk | 1 | 1
INITiate:NAME | 1 | 0
MEASure:CURRent | 0 | 1
MEASure:VOLTage | 0 | 1
MEASure:POWer | 0 | 1
OUTPut:DELay:ON | 1 | 1
OUTPut:DELay:OFF | 1 | 1
OUTPut:MODE | 1 | 1
OUTPut | 1 | 1
OUTPut:TRIGgered | 1 | 1
OUTPut:PROTection:CLEar | 1 | 0
OUTPut:PROTection:TRIPped | 0 | 1
STATus:OPERation | 0 | 1
STATus:OPERation:CONDition | 0 | 1
STATus:OPERation:ENABle | 1 | 1
STATus:OPERation:PTRansition | 1 | 1
STATus:OPERation:NTRansition | 1 | 1
STATus:QUEStionable | 0 | 1
STATus:QUEStionable:CONDition | 0 | 1
STATus:QUEStionable:ENABle | 1 | 1
STATus:QUEStionable:PTRansition | 1 | 1
STATus:QUEStionable:NTRansition | 1 | 1
STATus:PRESet | 1 | 0
CURRent | 1 | 1
CURRent:TRIGgered | 1 | 1
CURRent:PROTection | 1 | 1
CURRent:PROTection:STATe | 1 | 1
CURRent:SLEW:RISing | 1 | 1
CURRent:SLEW:FALLing | 1 | 1
RESistance | 1 | 1
VOLTage | 1 | 1
VOLTage:TRIGgered | 1 | 1
VOLTage:PROTection | 1 | 1
VOLTage:SLEW:RISing | 1 | 1
VOLTage:SLEW:FALLing | 1 | 1
SYSTem:CONFigure:BEEPer | 1 | 1
SYSTem:CONFigure:BLEeder | 1 | 1
SYSTem:CONFigure:BTRip | 1 | 1
SYSTem:CONFigure:BTRip:PROTection | 1 | 1
SYSTem:CONFigure:CURRent:CONTrol | 1 | 1
SYSTem:CONFigure:VOLTage:CONTrol | 1 | 1
SYSTem:CONFigure:MSLave | 1 | 1
SYSTem:CONFigure:OUTPut:EXTernal | 1 | 1
SYSTem:CONFigure:OUTPut:PON | 1 | 1
SYSTem:COMMunicate:ENABle GPIB | 1 | 1
SYSTem:COMMunicate:ENABle USB | 1 | 1
SYSTem:COMMunicate:ENABle LAN | 1 | 1
SYSTem:COMMunicate:ENABle SOCKETS | 1 | 1
SYSTem:COMMunicate:ENABle WEB | 1 | 1
SYSTem:COMMunicate:GPIB:ADDRess | 1 | 1
SYSTem:COMMunicate:LAN:IPADdress | 1 | 1
SYSTem:COMMunicate:LAN:GATEway | 1 | 1
SYSTem:COMMunicate:LAN:SMASk | 1 | 1
SYSTem:COMMunicate:LAN:MAC | 0 | 1
SYSTem:COMMunicate:LAN:DHCP | 1 | 1
SYSTem:COMMunicate:LAN:DNS | 1 | 1
SYSTem:COMMunicate:LAN:HOSTname | 0 | 1
SYSTem:COMMunicate:LAN:WEB:PACTive | 1 | 1
SYSTem:COMMunicate:LAN:WEB:PASSword | 1 | 1
SYSTem:COMMunicate:USB:FRONt:STATe | 0 | 1
SYSTem:COMMunicate:USB:REAR:STATe | 0 | 1
SYSTem:COMMunicate:RLSTate | 1 | 1
SYSTem:ERRor | 0 | 1
SYSTem:KLOCk | 1 | 1
SYSTem:INFormation | 0 | 1
SYSTem:PRESet | 1 | 0
SYSTem:VERSion | 0 | 1
TRIGger:TRANsient | 1 | 0
TRIGger:TRANsient:SOURce | 1 | 1
TRIGger:OUTPut | 1 | 0
TRIGger:OUTPut:SOURce | 1 | 1